Supplementary data

Multiresidue Determination of Fungicides in Wine by Solvent Demulsification-Dispersive Liquid-Liquid Microextraction and Ultra-High Performance Liquid Chromatography-Tandem Mass Spectrometry

Gabrieli Bernardi, Magali Kemmerich, Franciele F. Machado,

Osmar D. Prestes, Martha B. Adaime, Renato Zanella*

Laboratory of Pesticide Residues Analysis (LARP), Chemistry Department, Federal University of Santa Maria, 97105-900 Santa Maria-RS, Brazil

* Corresponding author. Tel/fax: +5555 32208011

E-mail: renato.zanella@ufsm.br (R. Zanella)

Table S1. Retention time, precursor and products ions monitored and collision energies used in the chromatographic method by SRM mode

| Compounds | MM* | tR (min) | Precursor ion (m/z) | Cone voltage (mV) | 1ª Transition Quantification |  | 2ª Transition Identification |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Product ion | CE (mV) | Product ion | CE (mV) |
| Azoxystrobin | 403 | 6.02 | 404 | 17 | 329 | 30 | 372 | 15 |
| Boscalide | 343 | 6.23 | 343 | 32 | 307 | 20 | 140 | 20 |
| Carbendazin | 191 | 2,98 | 191 | 24 | 160 | 18 | 132 | 28 |
| Carboxin | 235 | 5.11 | 236 | 25 | 143 | 16 | 87 | 22 |
| Cyproconazole | 291 | 6.50 | 292 | 27 | 70 | 24 | 125 | 18 |
| Diclofuanide | 333 | 6.64 | 330 | 30 | 123 | 17 | 141 | 18 |
| Difenoconazole | 406 | 7.23 | 406 | 37 | 251 | 25 | 111 | 60 |
| Dimetomorph | 388 | 6.32 | 388 | 30 | 301 | 21 | 165 | 28 |
| Epoxiconazole | 330 | 6.68 | 330 | 25 | 101 | 50 | 121 | 22 |
| Famoxadone | 374 | 7.02 | 392 | 12 | 238 | 20 | 392 | 10 |
| Fenpropimorph | 303 | 6.13 | 304 | 41 | 147 | 34 | 57 | 14 |
| Fluquiconazole | 376 | 6.59 | 376 | 37 | 307 | 30 | 349 | 18 |
| Flutolanil | 323 | 6.34 | 324 | 23 | 65 | 40 | 262 | 18 |
| Imazalil | 297 | 5.61 | 297 | 31 | 159 | 22 | 69 | 22 |
| Iprovalicarb | 320 | 6.57 | 321 | 19 | 119 | 16 | 203 | 10 |
| Kresoxim methyl | 313 | 6.93 | 314 | 15 | 116 | 12 | 206 | 7 |
| Metalaxyl | 279 | 5.77 | 280 | 15 | 192 | 17 | 220 | 13 |
| Metconazole | 320 | 7.12 | 320 | 29 | 125 | 36 | 70 | 22 |
| Myclobutanil | 289 | 6.45 | 289 | 25 | 70 | 18 | 125 | 32 |
| Piraclostrobin | 388 | 7.01 | 388 | 20 | 163 | 25 | 194 | 12 |
| Pirymethanil | 200 | 5.95 | 200 | 42 | 107 | 24 | 82 | 24 |
| Procymidone | 284 | 6.67 | 284 | 33 | 256 | 17 | 67 | 28 |
| Propiconazole | 342 | 7.01 | 342 | 37 | 159 | 34 | 69 | 22 |
| Quinoxifen | 308 | 7.77 | 308 | 52 | 162 | 44 | 197 | 32 |
| Tebuconazole | 308 | 7.08 | 308 | 31 | 70 | 22 | 125 | 40 |
| Tetraconazole | 372 | 6.65 | 372 | 32 | 159 | 30 | 70.1 | 20 |
| Tiofanate methyl | 342 | 4.90 | 343 | 23 | 151 | 21 | 311 | 11 |
| Tolcophos methyl | 301 | 7.12 | 301 | 30 | 175 | 29 | 125 | 27 |
| Triadimefon | 294 | 6.42 | 294 | 22 | 197 | 15 | 69 | 20 |
| Triazophos | 313 | 6.55 | 314 | 22 | 119 | 35 | 162 | 18 |
| Trifloxystrobin | 408 | 7.31 | 409 | 25 | 145 | 40 | 186 | 16 |

* Molecular Mass; CE= Collision energy

Figure S1. Average area obtained by UHPLC-MS/MS for the evaluation of agitation type at the spike level 0.5 μg L-1.

Figure S2. Average area obtained by UHPLC-MS/MS for the extraction (100 μL) and dispersive (500 μL) solvents at the spike level of 0.5 μg L-1 (n = 4).

Figure S3. Average of area obtained by UHPLC-MS/MS for some compounds for the evaluation of sample pH with a blank red wine sample spiked at 0.5 μg L-1 (n = 4).

Figure S4. Average of area obtained by UHPLC-MS/MS for some compounds for the evaluation of salt addition with a blank red wine sample spiked at 0.5 μg L-1 (n = 4).